## Slide 1: YOKOGAWA GC1000 Mark II Detector Advances
Yokogawa Electric Corporation
Process Analyzer Center Texas (PACT)

## Slide 2: Mark II… The Enhanced GC1000 TCD
Design team goals
  Stability, it is important to have detector unaffected by external conditions
  Carrier selection, able to use various gases
  Reduced dead volume
  Reduced carrier flows – economy
  Flow variance immunity
Design team results
  Over a 10 Times improvement on TCD performance compared to market with MDLs in the ppm ranges

## Slide 3: THERMAL CONDUCTIVITY DETECTOR (TCD)

## Slide 4: The TCD Detector

## Slide 5: Many companies were trying
But what did they try…….
Smaller and,
Smaller and,
Smaller holes,
They got lower dead volume but also lower response

## Slide 6: Why was the response falling off??
To understand TCDs you have to consider all thermal factors, such as:
  Qty of heat transferred by the gas – Q1
  Qty of radiation heat – Q2
  Qty of heat conducted via the wire itself at ends – Q3
  Qty of heat conveyed by both natural and forced convection – Q4
Now specific gases were run through detectors to determine characteristics

## Slide 7: Thermal factors and relationships

## Slide 8: What was found
Lots of fun equations like
  V=2(√xLRD)(1+T)√{T(1+½T)/(1+ T-(-tanh)/ 2}
Some side effects were found
  Lower dead volumes
  Lowering Response
  And also lowering sensitivity
The bottom line was to leave history behind….

## Slide 9: Mark II ...Thermal Conductivity Detector
FORGET ROUND HOLES

## Slide 10: Mark II ...Thermal Conductivity Detector
Filament
Diffusion
FORGET ROUND HOLES

## Slide 11: How did it turn out?

## Slide 12: Mark II ...TCD Chromatogram
9 ppm
Acetylene
Minimum detectability 0.01 ppm

## Slide 13: Mark II ...High Sensitivity TCD approach
TCD Signal
Amp. Noise
TCD Noise
Current
Model
Improved
Model
Optimized
Model
S/N Ratio
s/n Ratio

## Slide 14
Mark II ... Benefits of high sensitivity TCD

## Slide 15
0 - 10 ppmv H2 in Argon
Mark II ... Benefits of high sensitivity TCD

## Slide 16
Mark II ... Benefits of high sensitivity TCD

## Slide 17
0 - 30 ppmv H2O in EDC
Mark II ... Benefits of high sensitivity TCD

## Slide 18
Mark II ... Benefits of high sensitivity TCD

## Slide 19
10 - 50 ppmv H2S on TCD
Mark II ... Benefits of high sensitivity TCD

## Slide 20: Mark II ...Benefits of high sensitivity TCD
Replaces 80 % of FID/FPD applications
  Reduces utility gas costs
  Avoids flame lighting difficulty
  Simplifies maintenance
  Lowers costs of spare parts
  Reduces GC downtime
  Improves GC reliability
Lower Cost of Ownership

## Slide 21: What is this Cost of Ownership
Initial Costs
  GC with a TCD = $26,000
  GC with a FID = $30,000 (+$4K to 5K)
  GC with a FPD = $34,000 (+$8K to 10K)
Operation Carrier gases
  GC with a TCD = $4,000
  GC with a FID = $8,000
  GC with a FPD = $10,000
Spare Parts
Time due to complexity
The nuance factor